| From: EEP 8 | EEP8 / output / 02 |
| --- | --- |
| To: VTS 25 | Date: 13 October 2006 |

Liaison Note to VTS Committee

The EEP Committee requests the VTS Committee to provide details of any VTS equipment that they consider merits remote monitoring.

The VTS Committee is further requested to provide this information in time for EEP 9 (April 2007).

VTS 25 draft response:

VTS employs a variety of equipment installed at remote, unmanned sites.  IALA Recommendation V-128 (Operational and Technical Performance Requirements for VTS Equipment) provides details on VTS equipment and makes several specific recommendations for remote monitoring of this equipment.  VTS equipment requires remote monitoring for two purposes: site security and system performance.

Site security considerations:

Such considerations as site security, fire detection/protection and environmental control are primarily a matter for individual authorities to determine and it is not necessary for IALA to prescribe requirements.

System Performance considerations:

Remote monitoring of VTS equipment is required to ensure the equipment is available to meet the operational requirements to provide the VTS services.  This includes common equipment health parameters as well as equipment operational performance parameters (e.g., radar alignment).

Monitoring is required on all equipment in both primary and standby mode to ensure required redundancy is maintained.  The investment in remote monitoring should be determined through risk assessment and a review of required reliability levels and redundance provided by other sites.

Examples of equipment found at VTS remote sites:

- Radar

- Radio equipment

- AIS equipment

- Direction finding equipment

- CCTV

- Weather monitoring equipment

- Emergency power (generator, batteries)

- Network equipment (routers, switches, microwave links)