PRODUCT CERTIFICATION TEMPLATE 3e

Battery Chargers

# Purpose

Product templates identify parameters that should be tested and the standards against which each parameter should be tested to enable a comprehensive evaluation of products..

# Scope

The template is applicable to battery chargers used on AtoN

# Test Standards

The Templates quote international standards. If an IALA Product Certification Authority (IALA-PCA) wishes to use an alternative standard, it is the responsibility of the IALA-PCA to confirm that the standard used conforms to the IALA quoted standard. Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.

## Product Certification Template 3e – chargers

Product Type / Manufacturer Reference Number:

| Ref. No | Parameter category | Parameter |  | Measured/Stated Value | Test Method | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | ### Electrical |  |  |  |  |  |
| 1.1 |  | Battery type Applicability |  |  |  | Control method and battery types |
| 1.2 |  | Supply Input voltage - Single phase Three phase |  |  |  | - Single phase(60Hz): 120, 208, 240, 480, and 600 VAC. - Three phase (60Hz): 280, 240, 480 and 575 VAC - Single phase (50Hz): 220/240, 380 or 415 VAC - Three phase (50Hz): 220/240, 380, 415 VAC |
| 1.3 |  | Supply Input frequencyOutput voltage |  |  |  | - 60 Hz - 50 Hz |
| 1.4 |  | Input Tolerance - ±10% line voltage 5% frequency |  |  |  | Example: - (± 0.5%) - (± 0.5%) |
| 1.5 |  | Output current limit |  |  |  | - Adjustable from -% to --% - Factory set at ------- |
| 1.6 |  | Output voltage Regulation - Static |  |  |  | - --% over the range of no load to full load with ± 10% input variation and ± 5% input frequency variation |
| 1.7 |  | DC Output Ripple |  |  |  | - <2% RMS of float voltage without battery connected. |
| 1.8 |  | Fast Charge current and termination voltage |  |  |  |  |
| 1.9 |  | Power conversion efficiency Equalization voltage range |  |  |  |  |
| 1.10 |  | Float voltage range and float charge termination current |  |  |  |  |
| 1.11 |  | Short circuit protection |  |  |  |  |
| 1.12 |  | Standby current |  |  |  |  |
| 1.13 |  | Over voltage protection |  |  |  |  |
| 1.14 |  | Multiple batteries charge |  |  |  |  |
| 2 | ### Control |  |  |  |  |  |
| 2.1 |  | Charge control |  |  |  |  |
| 2.2 |  | Charge algorithm |  |  |  | Provide chart, graph as necessary |
| 2.3 |  | Monitoring, alarm output |  |  |  |  |
| 2.4 |  | Resets |  |  |  |  |
| 3 | Optional Features |  |  |  |  |  |
| 3.1 |  |  | Alarm package : AC fail, Low DC, High DC, Low charge current, DC ground. |  |  | - Provide a list of individual alarm as listed. |
| 3.2 |  |  | Meter and LED display package: AC volt and amp meter, DC volt and amp meter |  |  | - Provide a list of individual meter as listed. |
| 3.3 |  |  | Remote sensing |  |  |  |
| 3.4 |  |  | Surge and Lightning protection |  |  | - State the protection methods.. |
| 3.5 |  |  | Load share circuit |  |  | - Indicating the charge is equipped with load sharing circuit |
| 3.6 |  |  | Equalizer timer |  |  | - Specify the time in hours |
| 4 | ### Physical |  |  |  |  |  |
| 4.1 |  | Size |  |  |  |  |
| 4.2 |  | Weight |  |  |  |  |
| 4.3 |  | Sealing |  |  |  | - International Protection (IP) rating |
| 4.4 |  | Ventilation requirements |  |  |  |  |
| 4.5 |  | MTBF |  |  |  | - State in hours |
| 5 | ### Environmental |  |  |  |  |  |
| 5.1 |  | Temperature – operational and storage |  |  |  | Specified temperature range |
| 5.2 |  | Humidity – operational and storage |  |  | IEC 60945 section 8.3; IEC 60068-2-3 |  |
| 5.3 |  | Emersion |  |  | IEC 60945 section 8.9 |  |
| 5.4 |  | Salt air and sea water spray |  |  | IEC 60945 section 8.12 |  |
| 5.5 |  | Ultraviolet exposure |  |  |  |  |
| 5.6 |  | Shock and vibration |  |  | IEC 60945 section 8.7 |  |
| 5.7 |  | Electromagnetic interference |  |  | IEC 60945 sections 9 & 10 |  |
| 6 | ### Service |  |  |  |  |  |
| 6.1 |  | Maintenance free period |  |  |  |  |
| 6.2 |  | Assured service life |  |  |  |  |
| 7 | Disposal |  |  |  |  |  |
| 7.1 |  | Obligatory and recommended disposal method |  |  |  | IALA guideline 1036 – Environmental Considerations in Aids to Navigation Engineering |

 Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.