Madrid, 09 de julio de 2004

EEP5 / 6d) / 3

IALA SECRETARIAT

### Comments to ITEM 35 IALA solar sizing programm

Results are considered satisfactory when the rhythm of isolated flashes is chosen, but it adapts worse to the results obtained with the programmes usually used when another type of rate is chosen.

It would be advisable to build in controls which, for instance, indicate battery charge as well as the type selected (primary, secondary, gel, etc.). In any event, only consumption data should be introduced and with this data, the programme should tell us the battery needed. Building in the battery data from the outset limits the use of the programme to doing verifications.

Another suggestion would be to work with daily radiation data instead of with monthly averages.