PRODUCT CERTIFICATION TEMPLATE 3f

PV Solar regulators

# Purpose

Product templates identify parameters that should be tested and the standards against which each parameter should be tested to enable a comprehensive evaluation of products..

# Scope

The template is applicable to PV solar regulators used on AtoN

# Test Standards

The Templates quote international standards. If an IALA Product Certification Authority (IALA-PCA) wishes to use an alternative standard, it is the responsibility of the IALA-PCA to confirm that the standard used conforms to the IALA quoted standard. Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.

## Product Certification Template 3f – PV solar regulators

Product Type / Manufacturer Reference Number:

| Ref. No | Parameter category | Parameter | Measured Value | Test Method | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | ### Electrical |  |  |  |  |
| 1.1 |  | Battery type Applicability |  |  |  |
| 1.2 |  | Output current rating |  |  | Output current limit |
| 1.3 |  | Nominal system voltage |  |  |  |
| 1.4 |  | PV open circuit voltage |  |  |  |
| 1.5 |  | Standby power consumption |  |  |  |
| 1.6 |  | Charge on power consumption |  |  |  |
| 1.7 |  | Equalization voltage |  |  |  |
| 1.8 |  | Temperature compensation |  |  |  |
| 1.9 |  | Power conversion efficiency |  |  |  |
| 1.10 |  | Short circuit protection |  |  |  |
| 1.11 |  | Over voltage protection |  |  |  |
| 2 | ### Control |  |  |  |  |
| 2.1 |  | Charge control |  |  |  |
| 2.2 |  | Charge algorithm |  |  |  |
| 2.3 |  | Monitoring/ Alarms |  |  |  |
| 2.4 |  | Resets |  |  |  |
| 3 | ### Physical |  |  |  |  |
| 3.1 |  | Size |  |  |  |
| 3.2 |  | Weight |  |  |  |
| 3.3 |  | Sealing |  |  | International Protection (IP) rating |
| 3.4 |  | MTBF |  |  |  |
| 4 | ### Environmental |  |  |  |  |
| 4.1 |  | Temperature – operational and storage |  |  | Specified temperature range, DIN EN E 540314-1 / VDE 0126 Teil 14-01 |
| 4.2 |  | Humidity – operational and storage |  | IEC 60945 section 8.3; IEC 60068-2-3 | Note, IEC 60945 may not be adequate for buoy use |
| 4.3 |  | Immersion |  | IEC 60945 section 8.9 |  |
| 4.4 |  | Salt air and sea water spray |  | IEC 60945 section 8.12 |  |
| 4.5 |  | Ultraviolet exposure |  |  |  |
| 4.6 |  | Shock and vibration |  | IEC 60945 section 8.7 | Note, IEC 60945 may not be adequate for buoy use |
| 4.7 |  | Electromagnetic interference |  | IEC 60945 sections 9 & 10 |  |
| 5 | ### Service |  |  |  |  |
| 5.1 |  | Maintenance free period |  |  |  |
| 5.2 |  | Assured service life |  |  |  |
| 5.3 |  | Description of inspection methods |  |  |  |
| 5.4 |  | Operation and Maintenance documentation |  |  |  |
| 6 | ### Disposal |  |  |  |  |
| 6.1 |  | Obligatory and recommended disposal method |  |  | IALA guideline 1036 – Environmental Considerations in Aids to Navigation Engineering |

* Manufacturer to state standard used

 Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.